## Sheet1
ACCREDITED
CALIBRATION CERTIFICATE
#
This is to certify that the following meter was calibrated in accordance with procedures LWI-112 and LWI-115 for performing primary gravimetric calibrations in the Micro Motion Measurement Technology Test Lab. This calibration is compliant to ISO 17025:2005 & ANSI/NCSL Z540-1-1994. The meter has been calibrated with standards whose accuracies are traceable to N.I.S.T.
STANDARDS USED
PFS7K, PFS150
One, or both, of these primary flow stands may have been used for this calibration.
ESTIMATED UNCERTAINTY ±0.014%
The uncertainty is estimated using a coverage factor (k) of 2, providing a confidence level of approximately 95 %
STATUS
CUSTOMER |  |  | SALES ORDER
Name: |  |  | Number:
Address:
TEST DATE & TIME | 0
TEST COMMENTS
SENSOR DATA |  |  | SENSOR CALIBRATION
Serial Number: |  |  | Flow Calibration Factor:
Model: |  |  | D1:
Size: |  |  | D2:
Material: |  |  | K1:
Press Rating: |  |  | K2:
Temp Rating: |  |  | FD:
Density Temp Coeff.:
TRANSMITTER DATA
Serial Number: |  |  | METER SPECIFICATIONS
Model: |  |  | Flow Accuracy: | %
Mass Flow Units: |  |  | Flow Repeatability: | %
Density Units: |  |  | Zero Stability: | lb/min
Temperature Units: |  |  | Density Accuracy: | g/cc
Mass Flow Cutoff: |  |  | Density Repeatability: | g/cc
Mass Flow Damping:
Flow Direction:
Frequency Flow Rate:
Frequency Span:
TEST TECHNICIAN | DATE
QUALITY ASSURANCE REVIEW DATE
2033.01
7070 Winchester Circle
Boulder, CO 80301